## Data
sample_id | hr_fft | conf_fft | peak_hz | peak_ratio | k_peaks | hr_final | conf_final | mode | s_motion | s_freq | motion_high | freq_bad | motion | external_hr | error_bpm | abs_error_bpm
165 | 78 | 0.78 | 1.351 | 2.56 | 7 | 78 | 0.54 | FREQ | 0.27 | 0.54 | 1 | 0 | 7265.2 | 81 | -3 | 3
166 | 79.3 | 0.86 | 1.351 | 2.82 | 7 | 79.3 | 0.6 | FREQ | 0.24 | 0.6 | 1 | 0 | 7588.4 | 81 | -1.7 | 1.7
167 | 80 | 0.93 | 1.346 | 3.06 | 7 | 80 | 0.68 | FREQ | 0.28 | 0.68 | 1 | 0 | 7230.4 | 81 | -1 | 1
168 | 80.3 | 0.91 | 1.343 | 3.01 | 7 | 80.3 | 0.69 | FREQ | 0.33 | 0.69 | 1 | 0 | 6741.4 | 81 | -0.7 | 0.7
169 | 80.3 | 0.81 | 1.341 | 2.66 | 7 | 80.3 | 0.59 | FREQ | 0.22 | 0.59 | 1 | 0 | 7790.1 | 81 | -0.7 | 0.7
170 | 80.7 | 0.8 | 1.355 | 2.62 | 7 | 80.7 | 0.79 | FREQ | 0.27 | 0.79 | 1 | 0 | 7285.8 | 84 | -3.3 | 3.3
171 | 81.8 | 0.77 | 1.396 | 2.55 | 7 | 81.8 | 0.74 | FREQ | 0.17 | 0.74 | 1 | 0 | 8304.1 | 84 | -2.2 | 2.2
172 | 83.5 | 0.74 | 1.436 | 2.43 | 7 | 83.5 | 0.69 | FREQ | 0.27 | 0.69 | 1 | 0 | 7338.8 | 86 | -2.5 | 2.5
173 | 85 | 0.74 | 1.454 | 2.42 | 7 | 85 | 0.7 | FREQ | 0.27 | 0.7 | 1 | 0 | 7336.4 | 86 | -1 | 1
174 | 86.3 | 0.52 | 1.465 | 2.21 | 7 | 86.3 | 0.47 | FREQ | 0.33 | 0.47 | 1 | 0 | 6667.9 | 86 | 0.3 | 0.3
175 | 86.4 | 0.62 | 1.449 | 2.03 | 7 | 86.4 | 0.53 | FREQ | 0.3 | 0.53 | 1 | 0 | 6967.3 | 86 | 0.4 | 0.4
176 | 85.5 | 0.59 | 1.391 | 1.93 | 7 | 85.5 | 0.41 | FREQ | 0.13 | 0.41 | 1 | 0 | 8740.4 | 85 | 0.5 | 0.5
177 | 83.9 | 0.58 | 1.365 | 1.9 | 7 | 83.9 | 0.41 | FREQ | 0.18 | 0.41 | 1 | 0 | 8175.3 | 85 | -1.1 | 1.1
178 | 83.3 | 0.59 | 1.375 | 1.92 | 7 | 83.3 | 0.51 | FREQ | 0.29 | 0.51 | 1 | 0 | 7090 | 84 | -0.7 | 0.7
179 | 81.9 | 0.61 | 1.319 | 1.99 | 7 | 81.9 | 0.43 | FREQ | 0.3 | 0.43 | 1 | 0 | 7035.9 | 84 | -2.1 | 2.1
180 | 80.6 | 0.62 | 1.325 | 2.04 | 7 | 80.6 | 0.44 | FREQ | 0.31 | 0.44 | 1 | 0 | 6889.5 | 83 | -2.4 | 2.4
181 | 81.3 | 0.7 | 1.38 | 2.32 | 7 | 81.3 | 0.49 | FREQ | 0.24 | 0.49 | 1 | 0 | 7576.3 | 83 | -1.7 | 1.7
182 | 82.5 | 0.75 | 1.403 | 2.45 | 7 | 82.5 | 0.52 | FREQ | 0.12 | 0.52 | 1 | 0 | 8821.9 | 83 | -0.5 | 0.5
183 | 83.4 | 0.8 | 1.41 | 2.64 | 7 | 83.4 | 0.56 | FREQ | 0.23 | 0.56 | 1 | 0 | 7720.6 | 83 | 0.4 | 0.4
184 | 83.4 | 0.77 | 1.384 | 2.52 | 7 | 83.4 | 0.54 | FREQ | 0.24 | 0.54 | 1 | 0 | 7565.2 | 82 | 1.4 | 1.4
185 | 82.2 | 0.68 | 1.333 | 2.22 | 7 | 82.2 | 0.53 | FREQ | 0.25 | 0.53 | 1 | 0 | 7495.5 | 82 | 0.2 | 0.2
186 | 81 | 0.69 | 1.327 | 2.28 | 7 | 81 | 0.49 | FREQ | 0.25 | 0.49 | 1 | 0 | 7531.4 | 82 | -1 | 1
187 | 80.5 | 0.72 | 1.329 | 2.38 | 7 | 80.5 | 0.51 | FREQ | 0.21 | 0.51 | 1 | 0 | 7866.6 | 82 | -1.5 | 1.5
188 | 80.2 | 0.73 | 1.332 | 2.41 | 7 | 80.2 | 0.51 | FREQ | 0.2 | 0.51 | 1 | 0 | 8032.5 | 84 | -3.8 | 3.8
189 | 80.9 | 0.81 | 1.376 | 2.68 | 7 | 80.9 | 0.72 | FREQ | 0.31 | 0.72 | 1 | 0 | 6947.7 | 84 | -3.1 | 3.1
190 | 82.8 | 0.81 | 1.429 | 2.67 | 7 | 82.8 | 0.81 | FREQ | 0.26 | 0.81 | 1 | 0 | 7434.7 | 88 | -5.2 | 5.2
191 | 84.9 | 0.49 | 1.465 | 2.1 | 7 | 84.9 | 0.38 | FREQ | 0.2 | 0.38 | 1 | 0 | 8049.5 | 88 | -3.1 | 3.1
192 | 87.4 | 0.73 | 1.541 | 2.38 | 8 | 87.4 | 0.51 | FREQ | 0.31 | 0.51 | 1 | 0 | 6888.3 | 90 | -2.6 | 2.6
193 | 89.6 | 0.78 | 1.537 | 2.58 | 8 | 89.6 | 0.55 | FREQ | 0.35 | 0.55 | 1 | 0 | 6478.5 | 90 | -0.4 | 0.4
194 | 90.1 | 0.81 | 1.505 | 2.66 | 8 | 90.1 | 0.57 | FREQ | 0.26 | 0.57 | 1 | 0 | 7409 | 90 | 0.1 | 0.1
195 | 90 | 0.82 | 1.497 | 2.69 | 8 | 90 | 0.57 | FREQ | 0.28 | 0.57 | 1 | 0 | 7157.8 | 90 | 0 | 0
196 | 90.1 | 0.81 | 1.506 | 2.66 | 8 | 90.1 | 0.57 | FREQ | 0.16 | 0.57 | 1 | 0 | 8375.1 | 90 | 0.1 | 0.1
197 | 90.2 | 0.75 | 1.506 | 2.45 | 8 | 90.2 | 0.52 | FREQ | 0.24 | 0.52 | 1 | 0 | 7608.4 | 90 | 0.2 | 0.2
198 | 90.1 | 0.72 | 1.497 | 2.35 | 8 | 90.1 | 0.5 | FREQ | 0.26 | 0.5 | 1 | 0 | 7367.6 | 89 | 1.1 | 1.1
199 | 89.5 | 0.68 | 1.475 | 2.23 | 8 | 89.5 | 0.57 | FREQ | 0.23 | 0.57 | 1 | 0 | 7731.7 | 89 | 0.5 | 0.5
200 | 88.9 | 0.53 | 1.465 | 2.24 | 8 | 88.9 | 0.45 | FREQ | 0.2 | 0.45 | 1 | 0 | 8036.6 | 87 | 1.9 | 1.9
201 | 88.4 | 0.47 | 1.465 | 2.04 | 8 | 88.4 | 0.33 | FREQ | 0.39 | 0.33 | 1 | 0 | 6065.2 | 87 | 1.4 | 1.4
202 | 86.6 | 0.78 | 1.401 | 2.58 | 7 | 86.6 | 0.55 | FREQ | 0.38 | 0.55 | 1 | 0 | 6224.5 | 86 | 0.6 | 0.6
203 | 85.7 | 0.81 | 1.406 | 2.67 | 7 | 85.7 | 0.57 | FREQ | 0.33 | 0.57 | 1 | 0 | 6749.7 | 86 | -0.3 | 0.3
204 | 84.8 | 0.78 | 1.394 | 2.56 | 7 | 84.8 | 0.54 | FREQ | 0.39 | 0.54 | 1 | 0 | 6081.6 | 86 | -1.2 | 1.2
205 | 84.7 | 0.78 | 1.414 | 2.55 | 7 | 84.7 | 0.54 | FREQ | 0.41 | 0.54 | 1 | 0 | 5908 | 86 | -1.3 | 1.3
206 | 84.8 | 0.78 | 1.413 | 2.55 | 7 | 84.8 | 0.54 | FREQ | 0.33 | 0.54 | 1 | 0 | 6690.1 | 85 | -0.2 | 0.2
207 | 84.6 | 0.85 | 1.404 | 2.79 | 7 | 84.6 | 0.59 | FREQ | 0.29 | 0.59 | 1 | 0 | 7103 | 85 | -0.4 | 0.4
208 | 84.5 | 0.92 | 1.408 | 3.02 | 7 | 84.5 | 0.64 | FREQ | 0.28 | 0.64 | 1 | 0 | 7236.1 | 85 | -0.5 | 0.5
209 | 84.6 | 0.95 | 1.41 | 3.13 | 7 | 84.6 | 0.66 | FREQ | 0.26 | 0.66 | 1 | 0 | 7373 | 85 | -0.4 | 0.4
210 | 84.2 | 0.91 | 1.388 | 3.01 | 7 | 84.2 | 0.64 | FREQ | 0.31 | 0.64 | 1 | 0 | 6872.3 | 83 | 1.2 | 1.2
211 | 83.1 | 0.85 | 1.357 | 2.8 | 7 | 83.1 | 0.59 | FREQ | 0.25 | 0.59 | 1 | 0 | 7473.3 | 83 | 0.1 | 0.1
212 | 82.1 | 0.81 | 1.344 | 2.65 | 7 | 82.1 | 0.56 | FREQ | 0.29 | 0.56 | 1 | 0 | 7057.1 | 81 | 1.1 | 1.1
213 | 81.5 | 0.79 | 1.344 | 2.59 | 7 | 81.5 | 0.55 | FREQ | 0.31 | 0.55 | 1 | 0 | 6852.1 | 81 | 0.5 | 0.5
214 | 80.6 | 0.71 | 1.32 | 2.33 | 7 | 80.6 | 0.5 | FREQ | 0.38 | 0.5 | 1 | 0 | 6236.5 | 80 | 0.6 | 0.6
215 | 79.7 | 0.69 | 1.31 | 2.26 | 7 | 79.7 | 0.48 | FREQ | 0.51 | 0.48 | 1 | 0 | 4912.4 | 80 | -0.3 | 0.3
216 | 79.8 | 0.79 | 1.339 | 2.59 | 7 | 79.8 | 0.72 | FREQ | 0.5 | 0.72 | 1 | 0 | 5035.1 | 79 | 0.8 | 0.8
217 | 80 | 0.78 | 1.332 | 2.57 | 7 | 80 | 0.71 | FREQ | 0.35 | 0.71 | 1 | 0 | 6505.2 | 79 | 1 | 1
218 | 79.4 | 0.74 | 1.303 | 2.44 | 7 | 79.4 | 0.73 | FREQ | 0.48 | 0.73 | 1 | 0 | 5196.4 | 79 | 0.4 | 0.4
219 | 78.5 | 0.78 | 1.289 | 2.57 | 7 | 78.5 | 0.67 | FREQ | 0.37 | 0.67 | 1 | 0 | 6318.8 | 79 | -0.5 | 0.5
220 | 78 | 0.77 | 1.29 | 2.54 | 7 | 78 | 0.58 | FREQ | 0.38 | 0.58 | 1 | 0 | 6177 | 79 | -1 | 1
221 | 78.3 | 0.75 | 1.32 | 2.46 | 7 | 78.3 | 0.54 | FREQ | 0.44 | 0.54 | 1 | 0 | 5642.3 | 79 | -0.7 | 0.7
222 | 79.3 | 0.76 | 1.348 | 2.5 | 7 | 79.3 | 0.56 | FREQ | 0.53 | 0.56 | 1 | 0 | 4728.8 | 80 | -0.7 | 0.7
223 | 80.2 | 0.79 | 1.357 | 2.61 | 7 | 80.2 | 0.78 | FREQ | 0.42 | 0.78 | 1 | 0 | 5786.4 | 80 | 0.2 | 0.2
224 | 80.8 | 0.83 | 1.362 | 2.75 | 7 | 80.8 | 0.8 | FREQ | 0.4 | 0.8 | 1 | 0 | 6036.2 | 80 | 0.8 | 0.8

## Summary
2Hz Final HR Performance Summary
Metric | Formula/Value | Unit | Description | Metric | Value
Samples | 60 | windows | Number of analyzed windows | MAE | 1.1433
MAE | 1.1433 | BPM | Mean absolute error vs external HR | RMSE | 1.5532
RMSE | 1.5532 | BPM | Root mean square error vs external HR | Max Error | 5.2
Max Error | 5.2 | BPM | Maximum absolute error
HR Std Dev | 3.5383 | BPM | Standard deviation of final HR output
Hold Mode % | 0% | % | Percentage of windows where final output was held
Mean Confidence | 0.57433 | score | Average final confidence value
Mean External HR | 83.95 | BPM | Average reference HR
Mean Final HR | 83.3333 | BPM | Average final estimated HR
Notes
This workbook was generated from the filtered 100-row CSV log.
Computed error is final HR minus external reference HR; absolute error is used for MAE and max error.