## Data
sample_id | hr_fft | conf_fft | peak_hz | peak_ratio | k_peaks | hr_final | conf_final | mode | s_motion | s_freq | motion_high | freq_bad | motion | external_hr | error_bpm | abs_error_bpm
471 | 88.7 | 0.9 | 1.525 | 2.97 | 8 | 88.7 | 0.89 | FREQ | 0.98 | 0.89 | 0 | 0 | 154.1 | 90 | -1.3 | 1.3
472 | 90.4 | 0.94 | 1.546 | 3.08 | 8 | 90.4 | 0.91 | FREQ | 0.98 | 0.91 | 0 | 0 | 154.3 | 90 | 0.4 | 0.4
473 | 91.7 | 0.97 | 1.559 | 3.21 | 8 | 91.7 | 0.96 | FREQ | 0.98 | 0.96 | 0 | 0 | 231.4 | 92 | -0.3 | 0.3
474 | 92.3 | 1 | 1.549 | 3.29 | 8 | 92.3 | 1 | FREQ | 0.97 | 1 | 0 | 0 | 283.2 | 92 | 0.3 | 0.3
475 | 92.4 | 1 | 1.54 | 3.41 | 8 | 92.4 | 1 | FREQ | 0.97 | 1 | 0 | 0 | 311.4 | 93 | -0.6 | 0.6
476 | 92.6 | 1 | 1.553 | 3.52 | 8 | 92.6 | 0.94 | FREQ | 0.97 | 0.94 | 0 | 0 | 289 | 93 | -0.4 | 0.4
477 | 93.2 | 1 | 1.57 | 3.4 | 8 | 93.2 | 0.99 | FREQ | 0.97 | 0.99 | 0 | 0 | 338 | 93 | 0.2 | 0.2
478 | 93.4 | 0.94 | 1.558 | 3.1 | 8 | 93.4 | 0.92 | FREQ | 0.96 | 0.92 | 0 | 0 | 447.4 | 93 | 0.4 | 0.4
479 | 92.9 | 0.92 | 1.532 | 3.05 | 8 | 92.9 | 0.9 | FREQ | 0.95 | 0.9 | 0 | 0 | 516.2 | 93 | -0.1 | 0.1
480 | 92 | 0.9 | 1.51 | 2.95 | 8 | 92 | 0.86 | FREQ | 0.96 | 0.86 | 0 | 0 | 406.9 | 93 | -1 | 1
482 | 90.2 | 0.77 | 1.494 | 2.53 | 8 | 90.2 | 0.76 | FREQ | 0.96 | 0.76 | 0 | 0 | 356.5 | 91 | -0.8 | 0.8
483 | 90.4 | 0.85 | 1.514 | 2.8 | 8 | 90.4 | 0.77 | FREQ | 0.97 | 0.77 | 0 | 0 | 345.2 | 90 | 0.4 | 0.4
484 | 91 | 0.91 | 1.536 | 2.99 | 8 | 91 | 0.74 | FREQ | 0.98 | 0.74 | 0 | 0 | 173.4 | 90 | 1 | 1
485 | 92.1 | 0.96 | 1.565 | 3.15 | 8 | 92.1 | 0.87 | FREQ | 0.98 | 0.87 | 0 | 0 | 211.6 | 92 | 0.1 | 0.1
486 | 93.1 | 0.97 | 1.573 | 3.21 | 8 | 93.1 | 0.82 | FREQ | 0.97 | 0.82 | 0 | 0 | 323.9 | 92 | 1.1 | 1.1
487 | 93.6 | 1 | 1.57 | 3.35 | 8 | 93.6 | 0.93 | FREQ | 0.96 | 0.93 | 0 | 0 | 380.1 | 94 | -0.4 | 0.4
488 | 93.9 | 1 | 1.571 | 3.44 | 8 | 93.9 | 0.96 | FREQ | 0.96 | 0.96 | 0 | 0 | 367.6 | 94 | -0.1 | 0.1
489 | 93.8 | 1 | 1.557 | 3.32 | 8 | 93.8 | 0.96 | FREQ | 0.97 | 0.96 | 0 | 0 | 334.7 | 94 | -0.2 | 0.2
490 | 93.1 | 0.98 | 1.533 | 3.25 | 8 | 93.1 | 0.93 | FREQ | 0.97 | 0.93 | 0 | 0 | 299.3 | 94 | -0.9 | 0.9
491 | 92.7 | 0.96 | 1.54 | 3.15 | 8 | 92.7 | 0.91 | FREQ | 0.97 | 0.91 | 0 | 0 | 276.2 | 94 | -1.3 | 1.3
492 | 93.2 | 0.94 | 1.572 | 3.08 | 8 | 93.2 | 0.88 | FREQ | 0.95 | 0.88 | 0 | 0 | 455.1 | 94 | -0.8 | 0.8
493 | 94 | 0.8 | 1.586 | 2.64 | 8 | 94 | 0.8 | FREQ | 0.98 | 0.8 | 0 | 0 | 235.4 | 95 | -1 | 1
494 | 94.5 | 0.71 | 1.586 | 2.32 | 8 | 94.5 | 0.66 | FREQ | 0.98 | 0.66 | 0 | 0 | 233.6 | 95 | -0.5 | 0.5
498 | 94.9 | 0.77 | 1.59 | 2.52 | 8 | 94.9 | 0.7 | FREQ | 0.97 | 0.7 | 0 | 0 | 300.1 | 96 | -1.1 | 1.1
499 | 95.2 | 0.89 | 1.593 | 2.92 | 8 | 95.2 | 0.8 | FREQ | 0.97 | 0.8 | 0 | 0 | 252.2 | 96 | -0.8 | 0.8
500 | 95.2 | 0.93 | 1.584 | 3.07 | 8 | 95.2 | 0.73 | FREQ | 0.98 | 0.73 | 0 | 0 | 228.9 | 96 | -0.8 | 0.8
501 | 94.9 | 0.9 | 1.576 | 2.96 | 8 | 94.9 | 0.72 | FREQ | 0.97 | 0.72 | 0 | 0 | 265.5 | 96 | -1.1 | 1.1
502 | 95 | 0.93 | 1.586 | 3.08 | 8 | 95 | 0.9 | FREQ | 0.97 | 0.9 | 0 | 0 | 267.6 | 96 | -1 | 1
503 | 95 | 0.96 | 1.584 | 3.18 | 8 | 95 | 0.93 | FREQ | 0.98 | 0.93 | 0 | 0 | 170.9 | 95 | 0 | 0
504 | 94.5 | 0.93 | 1.558 | 3.09 | 8 | 94.5 | 0.9 | FREQ | 0.97 | 0.9 | 0 | 0 | 261.5 | 95 | -0.5 | 0.5
505 | 93.6 | 0.96 | 1.536 | 3.16 | 8 | 93.6 | 0.89 | FREQ | 0.97 | 0.89 | 0 | 0 | 289.4 | 94 | -0.4 | 0.4
506 | 92.8 | 0.86 | 1.528 | 2.82 | 8 | 92.8 | 0.84 | FREQ | 0.98 | 0.84 | 0 | 0 | 157.1 | 94 | -1.2 | 1.2
507 | 92.6 | 0.8 | 1.547 | 2.63 | 8 | 92.6 | 0.56 | FREQ | 0.98 | 0.56 | 0 | 0 | 189.1 | 93 | -0.4 | 0.4
508 | 93.2 | 0.87 | 1.57 | 2.86 | 8 | 93.2 | 0.61 | FREQ | 0.97 | 0.61 | 0 | 0 | 324.2 | 93 | 0.2 | 0.2
509 | 94.3 | 0.79 | 1.601 | 2.6 | 8 | 94.3 | 0.56 | FREQ | 0.98 | 0.56 | 0 | 0 | 194.9 | 94 | 0.3 | 0.3
510 | 94.8 | 0.65 | 1.584 | 2.14 | 8 | 94.8 | 0.49 | FREQ | 0.98 | 0.49 | 0 | 0 | 236.5 | 94 | 0.8 | 0.8
511 | 94.1 | 0.65 | 1.548 | 2.12 | 8 | 94.1 | 0.55 | FREQ | 0.97 | 0.55 | 0 | 0 | 272.6 | 95 | -0.9 | 0.9
512 | 93.9 | 0.75 | 1.568 | 2.47 | 8 | 93.9 | 0.57 | FREQ | 0.97 | 0.57 | 0 | 0 | 274.6 | 95 | -1.1 | 1.1
513 | 94 | 0.84 | 1.564 | 2.77 | 8 | 94 | 0.71 | FREQ | 0.98 | 0.71 | 0 | 0 | 192.1 | 95 | -1 | 1
514 | 93.1 | 0.84 | 1.522 | 2.75 | 8 | 93.1 | 0.73 | FREQ | 0.96 | 0.73 | 0 | 0 | 373.4 | 95 | -1.9 | 1.9
515 | 91.2 | 0.79 | 1.472 | 2.61 | 8 | 91.2 | 0.67 | FREQ | 0.96 | 0.67 | 0 | 0 | 424.3 | 92 | -0.8 | 0.8
516 | 89.8 | 0.77 | 1.468 | 2.53 | 8 | 89.8 | 0.63 | FREQ | 0.97 | 0.63 | 0 | 0 | 348.5 | 92 | -2.2 | 2.2
517 | 89.5 | 0.81 | 1.49 | 2.67 | 8 | 89.5 | 0.79 | FREQ | 0.97 | 0.79 | 0 | 0 | 271.6 | 90 | -0.5 | 0.5
518 | 89.9 | 0.89 | 1.512 | 2.93 | 8 | 89.9 | 0.87 | FREQ | 0.96 | 0.87 | 0 | 0 | 436.6 | 90 | -0.1 | 0.1
519 | 90.1 | 0.86 | 1.502 | 2.83 | 8 | 90.1 | 0.68 | FREQ | 0.98 | 0.68 | 0 | 0 | 238.4 | 89 | 1.1 | 1.1
521 | 88.8 | 0.77 | 1.469 | 2.53 | 8 | 88.8 | 0.54 | FREQ | 0.96 | 0.54 | 0 | 0 | 389.6 | 90 | -1.2 | 1.2
522 | 89.4 | 0.85 | 1.512 | 2.8 | 8 | 89.4 | 0.84 | FREQ | 0.98 | 0.84 | 0 | 0 | 241.2 | 90 | -0.6 | 0.6
523 | 90.7 | 0.9 | 1.544 | 2.97 | 8 | 90.7 | 0.9 | FREQ | 0.98 | 0.9 | 0 | 0 | 249.8 | 91 | -0.3 | 0.3
524 | 91.7 | 0.96 | 1.55 | 3.15 | 8 | 91.7 | 0.67 | FREQ | 0.96 | 0.67 | 0 | 0 | 393.2 | 91 | 0.7 | 0.7
525 | 92.3 | 1 | 1.552 | 3.31 | 8 | 92.3 | 0.77 | FREQ | 0.98 | 0.77 | 0 | 0 | 216.2 | 94 | -1.7 | 1.7
526 | 92.9 | 1 | 1.564 | 3.34 | 8 | 92.9 | 0.95 | FREQ | 0.97 | 0.95 | 0 | 0 | 284.5 | 94 | -1.1 | 1.1
527 | 93.5 | 0.99 | 1.572 | 3.27 | 8 | 93.5 | 0.94 | FREQ | 0.98 | 0.94 | 0 | 0 | 204.2 | 94 | -0.5 | 0.5
528 | 93.6 | 0.98 | 1.56 | 3.24 | 8 | 93.6 | 0.92 | FREQ | 0.98 | 0.92 | 0 | 0 | 209.3 | 94 | -0.4 | 0.4
529 | 93.2 | 0.98 | 1.539 | 3.24 | 8 | 93.2 | 0.93 | FREQ | 0.98 | 0.93 | 0 | 0 | 246.2 | 93 | 0.2 | 0.2
530 | 92.5 | 0.99 | 1.528 | 3.27 | 8 | 92.5 | 0.94 | FREQ | 0.97 | 0.94 | 0 | 0 | 287.5 | 93 | -0.5 | 0.5
531 | 92.4 | 1 | 1.539 | 3.33 | 8 | 92.4 | 0.95 | FREQ | 0.97 | 0.95 | 0 | 0 | 302.5 | 93 | -0.6 | 0.6
532 | 92.5 | 1 | 1.547 | 3.36 | 8 | 92.5 | 0.95 | FREQ | 0.97 | 0.95 | 0 | 0 | 251.7 | 93 | -0.5 | 0.5
533 | 92.9 | 0.99 | 1.561 | 3.26 | 8 | 92.9 | 0.94 | FREQ | 0.97 | 0.94 | 0 | 0 | 280.2 | 94 | -1.1 | 1.1
534 | 93.7 | 0.97 | 1.58 | 3.21 | 8 | 93.7 | 0.94 | FREQ | 0.98 | 0.94 | 0 | 0 | 193.3 | 94 | -0.3 | 0.3
535 | 94 | 0.99 | 1.572 | 3.27 | 8 | 94 | 0.94 | FREQ | 0.97 | 0.94 | 0 | 0 | 286.8 | 95 | -1 | 1

## Summary
No Motion Final HR Performance Analysis |  |  | Notes
Metric | Value |  | Error is calculated as Final HR minus External HR.
Samples | 60 |  | Absolute error is the absolute difference between Final HR and External HR.
MAE (BPM) | 0.70833 |  | Hold Mode (%) is based on rows where mode = 0.
RMSE (BPM) | 0.3
Max Error (BPM) | 2.2
HR Std Dev (BPM) | 1.6887
Hold Mode (%) | 0%
Mean Confidence | 0.82183
Sample | External HR | Final HR | Absolute Error
1 | #REF! | #REF! | #REF!
2 | #REF! | #REF! | #REF!
3 | #REF! | #REF! | #REF!
4 | #REF! | #REF! | #REF!
5 | #REF! | #REF! | #REF!
6 | #REF! | #REF! | #REF!
7 | #REF! | #REF! | #REF!
8 | #REF! | #REF! | #REF!
9 | #REF! | #REF! | #REF!
10 | #REF! | #REF! | #REF!
11 | #REF! | #REF! | #REF!
12 | #REF! | #REF! | #REF!
13 | #REF! | #REF! | #REF!
14 | #REF! | #REF! | #REF!
15 | #REF! | #REF! | #REF!
16 | #REF! | #REF! | #REF!
17 | #REF! | #REF! | #REF!
18 | #REF! | #REF! | #REF!
19 | #REF! | #REF! | #REF!
20 | #REF! | #REF! | #REF!
21 | #REF! | #REF! | #REF!
22 | #REF! | #REF! | #REF!
23 | #REF! | #REF! | #REF!
24 | #REF! | #REF! | #REF!
25 | #REF! | #REF! | #REF!
26 | 90 | 88.7 | 1.3
27 | 90 | 90.4 | 0.4
28 | 92 | 91.7 | 0.3
29 | 92 | 92.3 | 0.3
30 | 93 | 92.4 | 0.6
31 | 93 | 92.6 | 0.4
32 | 93 | 93.2 | 0.2
33 | 93 | 93.4 | 0.4
34 | 93 | 92.9 | 0.1
35 | 93 | 92 | 1
36 | 91 | 90.2 | 0.8
37 | 90 | 90.4 | 0.4
38 | 90 | 91 | 1
39 | 92 | 92.1 | 0.1
40 | 92 | 93.1 | 1.1
41 | 94 | 93.6 | 0.4
42 | 94 | 93.9 | 0.1
43 | 94 | 93.8 | 0.2
44 | 94 | 93.1 | 0.9
45 | 94 | 92.7 | 1.3
46 | 94 | 93.2 | 0.8
47 | 95 | 94 | 1
48 | 95 | 94.5 | 0.5
49 | 96 | 94.9 | 1.1
50 | 96 | 95.2 | 0.8
51 | 96 | 95.2 | 0.8
52 | 96 | 94.9 | 1.1
53 | 96 | 95 | 1
54 | 95 | 95 | 0
55 | 95 | 94.5 | 0.5
56 | 94 | 93.6 | 0.4
57 | 94 | 92.8 | 1.2
58 | 93 | 92.6 | 0.4
59 | 93 | 93.2 | 0.2
60 | 94 | 94.3 | 0.3
61 | 94 | 94.8 | 0.8
62 | 95 | 94.1 | 0.9
63 | 95 | 93.9 | 1.1
64 | 95 | 94 | 1
65 | 95 | 93.1 | 1.9
66 | 92 | 91.2 | 0.8
67 | 92 | 89.8 | 2.2
68 | 90 | 89.5 | 0.5
69 | 90 | 89.9 | 0.1
70 | 89 | 90.1 | 1.1
71 | 90 | 88.8 | 1.2
72 | 90 | 89.4 | 0.6
73 | 91 | 90.7 | 0.3
74 | 91 | 91.7 | 0.7
75 | 94 | 92.3 | 1.7
76 | 94 | 92.9 | 1.1
77 | 94 | 93.5 | 0.5
78 | 94 | 93.6 | 0.4
79 | 93 | 93.2 | 0.2
80 | 93 | 92.5 | 0.5
81 | 93 | 92.4 | 0.6
82 | 93 | 92.5 | 0.5
83 | 94 | 92.9 | 1.1
84 | 94 | 93.7 | 0.3
85 | 95 | 94 | 1
86 | #REF! | #REF! | #REF!
87 | #REF! | #REF! | #REF!
88 | #REF! | #REF! | #REF!
89 | #REF! | #REF! | #REF!
90 | #REF! | #REF! | #REF!
91 | #REF! | #REF! | #REF!
92 | #REF! | #REF! | #REF!
93 | #REF! | #REF! | #REF!
94 | #REF! | #REF! | #REF!
95 | #REF! | #REF! | #REF!
96 | #REF! | #REF! | #REF!
97 | #REF! | #REF! | #REF!
98 | #REF! | #REF! | #REF!
99 | #REF! | #REF! | #REF!
100 | #REF! | #REF! | #REF!