## Data
seconds | hr_fft | conf_fft | peak_hz | peak_ratio | k_peaks | hr_final | conf_final | mode | s_motion | s_freq | motion_high | freq_bad | motion | external_hr | error_bpm | abs_error_bpm
0 | 86 | 0.71 | 1.444 | 2.34 | 7 | 86 | 0.55 | FREQ | 0.9 | 0.55 | 1 | 0 | 1019.5 | 86 | 0 | 0
1 | 85.2 | 0.67 | 1.39 | 2.21 | 7 | 85.2 | 0.53 | FREQ | 0.9 | 0.53 | 1 | 0 | 1012.5 | 86 | -0.8 | 0.8
2 | 82.1 | 0.41 | 1.27 | 1.83 | 7 | 82.1 | 0.41 | FREQ | 0.92 | 0.41 | 1 | 0 | 768.2 | 86 | -3.9 | 3.9
3 | 82.1 | 0.67 | 1.272 | 2.19 | 7 | 82.1 | 0.62 | FREQ | 0.89 | 0.62 | 1 | 0 | 1103 | 86 | -3.9 | 3.9
4 | 80.1 | 0.69 | 1.297 | 2.26 | 7 | 80.1 | 0.69 | FREQ | 0.92 | 0.69 | 1 | 0 | 787.6 | 86 | -5.9 | 5.9
5 | 79.4 | 0.72 | 1.307 | 2.38 | 7 | 79.4 | 0.72 | FREQ | 0.91 | 0.72 | 1 | 0 | 940.3 | 82 | -2.6 | 2.6
6 | 78.5 | 0.74 | 1.283 | 2.44 | 7 | 78.5 | 0.73 | FREQ | 0.92 | 0.73 | 1 | 0 | 812.6 | 82 | -3.5 | 3.5
7 | 77.9 | 0.68 | 1.286 | 2.24 | 7 | 77.9 | 0.68 | FREQ | 0.9 | 0.68 | 1 | 0 | 1042.5 | 79 | -1.1 | 1.1
8 | 77.3 | 0.53 | 1.272 | 1.81 | 7 | 77.3 | 0.5 | FREQ | 0.94 | 0.5 | 1 | 0 | 615.3 | 79 | -1.7 | 1.7
9 | 76.1 | 0.45 | 1.21 | 1.76 | 6 | 76.1 | 0.31 | FREQ | 0.92 | 0.31 | 1 | 0 | 842.5 | 76 | 0.1 | 0.1
10 | 75.8 | 0.47 | 1.187 | 1.86 | 6 | 75.8 | 0.47 | FREQ | 0.92 | 0.47 | 1 | 0 | 777 | 76 | -0.2 | 0.2
11 | 75.9 | 0.55 | 1.191 | 1.85 | 6 | 75.9 | 0.55 | FREQ | 0.87 | 0.55 | 1 | 0 | 1305.3 | 75 | 0.9 | 0.9
12 | 74.2 | 0.63 | 1.202 | 2.05 | 6 | 74.2 | 0.63 | FREQ | 0.92 | 0.63 | 1 | 0 | 806.8 | 75 | -0.8 | 0.8
13 | 73.3 | 0.73 | 1.202 | 2.41 | 6 | 73.3 | 0.59 | FREQ | 0.91 | 0.59 | 1 | 0 | 917.1 | 74 | -0.7 | 0.7
14 | 73.2 | 0.79 | 1.223 | 2.6 | 6 | 73.2 | 0.66 | FREQ | 0.88 | 0.66 | 1 | 0 | 1201.2 | 74 | -0.8 | 0.8
15 | 74.1 | 0.69 | 1.265 | 2.27 | 6 | 74.1 | 0.48 | FREQ | 0.88 | 0.48 | 1 | 0 | 1163.7 | 75 | -0.9 | 0.9
16 | 75.7 | 0.65 | 1.341 | 2.13 | 7 | 75.7 | 0.6 | FREQ | 0.9 | 0.6 | 1 | 0 | 952.1 | 75 | 0.7 | 0.7
17 | 81.1 | 0.77 | 1.366 | 2.57 | 7 | 81.1 | 0.74 | FREQ | 0.86 | 0.74 | 1 | 0 | 1373.6 | 78 | 3.1 | 3.1
18 | 80.5 | 0.62 | 1.315 | 2.05 | 7 | 80.5 | 0.53 | FREQ | 0.91 | 0.53 | 1 | 0 | 874.6 | 78 | 2.5 | 2.5
19 | 76.8 | 0.51 | 1.27 | 2.17 | 7 | 76.8 | 0.45 | FREQ | 0.84 | 0.45 | 1 | 0 | 1587.4 | 78 | -1.2 | 1.2
20 | 76.6 | 0.42 | 1.27 | 1.87 | 7 | 76.6 | 0.36 | FREQ | 0.86 | 0.36 | 1 | 0 | 1386.2 | 78 | -1.4 | 1.4
21 | 77.2 | 0.53 | 1.303 | 1.75 | 7 | 77.2 | 0.49 | FREQ | 0.9 | 0.49 | 1 | 0 | 1007.1 | 78 | -0.8 | 0.8
22 | 78.2 | 0.57 | 1.327 | 1.86 | 7 | 78.2 | 0.51 | FREQ | 0.92 | 0.51 | 1 | 0 | 847.3 | 77 | 1.2 | 1.2
23 | 78.4 | 0.57 | 1.302 | 1.85 | 7 | 78.4 | 0.4 | FREQ | 0.9 | 0.4 | 1 | 0 | 952 | 77 | 1.4 | 1.4
24 | 78 | 0.73 | 1.299 | 2.39 | 7 | 78 | 0.72 | FREQ | 0.88 | 0.72 | 1 | 0 | 1152 | 78 | 0 | 0
25 | 78.7 | 0.78 | 1.334 | 2.55 | 7 | 78.7 | 0.55 | FREQ | 0.87 | 0.55 | 1 | 0 | 1297.1 | 78 | 0.7 | 0.7
26 | 80 | 0.84 | 1.367 | 2.76 | 7 | 80 | 0.68 | FREQ | 0.86 | 0.68 | 1 | 0 | 1421.5 | 80 | 0 | 0
27 | 81.2 | 0.88 | 1.384 | 2.89 | 7 | 81.2 | 0.88 | FREQ | 0.87 | 0.88 | 1 | 0 | 1250.3 | 80 | 1.2 | 1.2
28 | 82 | 0.88 | 1.382 | 2.92 | 7 | 82 | 0.88 | FREQ | 0.9 | 0.88 | 1 | 0 | 964.7 | 81 | 1 | 1
29 | 82.1 | 0.82 | 1.364 | 2.69 | 7 | 82.1 | 0.66 | FREQ | 0.91 | 0.66 | 1 | 0 | 925.9 | 81 | 1.1 | 1.1
30 | 80.8 | 0.72 | 1.307 | 2.37 | 7 | 80.8 | 0.59 | FREQ | 0.84 | 0.59 | 1 | 0 | 1641.6 | 81 | -0.2 | 0.2
31 | 79.2 | 0.63 | 1.289 | 2.06 | 7 | 79.2 | 0.55 | FREQ | 0.92 | 0.55 | 1 | 0 | 819.3 | 81 | -1.8 | 1.8
32 | 79.7 | 0.7 | 1.35 | 2.29 | 7 | 79.7 | 0.64 | FREQ | 0.9 | 0.64 | 1 | 0 | 1003.4 | 80 | -0.3 | 0.3
33 | 80.3 | 0.7 | 1.348 | 2.32 | 7 | 80.3 | 0.49 | FREQ | 0.92 | 0.49 | 1 | 0 | 827.6 | 80 | 0.3 | 0.3
34 | 80.4 | 0.7 | 1.341 | 2.3 | 7 | 80.4 | 0.7 | FREQ | 0.85 | 0.7 | 1 | 0 | 1473.3 | 80 | 0.4 | 0.4
35 | 80.7 | 0.74 | 1.354 | 2.44 | 7 | 80.7 | 0.52 | FREQ | 0.89 | 0.52 | 1 | 0 | 1136.6 | 80 | 0.7 | 0.7
36 | 81 | 0.7 | 1.357 | 2.3 | 7 | 81 | 0.64 | FREQ | 0.88 | 0.64 | 1 | 0 | 1201.5 | 80 | 1 | 1
37 | 81 | 0.65 | 1.349 | 2.13 | 7 | 81 | 0.59 | FREQ | 0.87 | 0.59 | 1 | 0 | 1287.8 | 80 | 1 | 1
38 | 80.4 | 0.66 | 1.32 | 2.17 | 7 | 80.4 | 0.61 | FREQ | 0.9 | 0.61 | 1 | 0 | 999.9 | 80 | 0.4 | 0.4
39 | 79.3 | 0.67 | 1.295 | 2.2 | 7 | 79.3 | 0.62 | FREQ | 0.93 | 0.62 | 1 | 0 | 721.9 | 80 | -0.7 | 0.7
40 | 79 | 0.75 | 1.315 | 2.47 | 7 | 79 | 0.73 | FREQ | 0.86 | 0.73 | 1 | 0 | 1375.2 | 80 | -1 | 1
41 | 79.7 | 0.77 | 1.348 | 2.54 | 7 | 79.7 | 0.73 | FREQ | 0.94 | 0.73 | 1 | 0 | 636.8 | 80 | -0.3 | 0.3
42 | 80.9 | 0.77 | 1.379 | 2.53 | 7 | 80.9 | 0.65 | FREQ | 0.85 | 0.65 | 1 | 0 | 1548.5 | 80 | 0.9 | 0.9
43 | 81.5 | 0.75 | 1.368 | 2.46 | 7 | 81.5 | 0.63 | FREQ | 0.89 | 0.63 | 1 | 0 | 1128.8 | 80 | 1.5 | 1.5
44 | 81.7 | 0.76 | 1.367 | 2.5 | 7 | 81.7 | 0.56 | FREQ | 0.88 | 0.56 | 1 | 0 | 1174.6 | 82 | -0.3 | 0.3
45 | 81.7 | 0.82 | 1.36 | 2.69 | 7 | 81.7 | 0.72 | FREQ | 0.89 | 0.72 | 1 | 0 | 1073.3 | 82 | -0.3 | 0.3
46 | 81.5 | 0.87 | 1.351 | 2.87 | 7 | 81.5 | 0.76 | FREQ | 0.9 | 0.76 | 1 | 0 | 992.8 | 82 | -0.5 | 0.5
47 | 81.1 | 0.82 | 1.341 | 2.7 | 7 | 81.1 | 0.57 | FREQ | 0.9 | 0.57 | 1 | 0 | 999.3 | 82 | -0.9 | 0.9
48 | 80.7 | 0.77 | 1.337 | 2.54 | 7 | 80.7 | 0.68 | FREQ | 0.87 | 0.68 | 1 | 0 | 1338.4 | 82 | -1.3 | 1.3
49 | 80.6 | 0.69 | 1.344 | 2.26 | 7 | 80.6 | 0.69 | FREQ | 0.88 | 0.69 | 1 | 0 | 1152.1 | 82 | -1.4 | 1.4
50 | 81 | 0.68 | 1.364 | 2.24 | 7 | 81 | 0.68 | FREQ | 0.84 | 0.68 | 1 | 0 | 1563.1 | 82 | -1 | 1
51 | 81.6 | 0.74 | 1.375 | 2.44 | 7 | 81.6 | 0.74 | FREQ | 0.84 | 0.74 | 1 | 0 | 1553.9 | 82 | -0.4 | 0.4
52 | 82.2 | 0.75 | 1.385 | 2.47 | 7 | 82.2 | 0.53 | FREQ | 0.88 | 0.53 | 1 | 0 | 1155.1 | 83 | -0.8 | 0.8
53 | 82.5 | 0.73 | 1.376 | 2.39 | 7 | 82.5 | 0.7 | FREQ | 0.87 | 0.7 | 1 | 0 | 1277.2 | 83 | -0.5 | 0.5
54 | 82.4 | 0.74 | 1.373 | 2.44 | 7 | 82.4 | 0.52 | FREQ | 0.86 | 0.52 | 1 | 0 | 1374.4 | 83 | -0.6 | 0.6
55 | 82.7 | 0.74 | 1.387 | 2.43 | 7 | 82.7 | 0.52 | FREQ | 0.88 | 0.52 | 1 | 0 | 1242.6 | 83 | -0.3 | 0.3
56 | 82.7 | 0.77 | 1.376 | 2.52 | 7 | 82.7 | 0.64 | FREQ | 0.86 | 0.64 | 1 | 0 | 1353.5 | 83 | -0.3 | 0.3
57 | 82.1 | 0.74 | 1.352 | 2.42 | 7 | 82.1 | 0.55 | FREQ | 0.85 | 0.55 | 1 | 0 | 1467.9 | 83 | -0.9 | 0.9
58 | 81.6 | 0.73 | 1.348 | 2.39 | 7 | 81.6 | 0.56 | FREQ | 0.84 | 0.56 | 1 | 0 | 1607.7 | 82 | -0.4 | 0.4
59 | 81.5 | 0.79 | 1.359 | 2.62 | 7 | 81.5 | 0.62 | FREQ | 0.91 | 0.62 | 1 | 0 | 932.3 | 82 | -0.5 | 0.5

## Summary
1Hz Final HR Performance Summary
1
Metric | 1.0833 | Unit | Description | Metric | Value
Samples | 1 | windows | Number of analyzed windows | MAE | 1.0833
MAE | 1.0833 | BPM | Mean absolute error vs external HR | RMSE | 1.5273
RMSE | 1.5273 | BPM | Root mean square error vs external HR | Max Error | 5.9
Max Error | 5.9 | BPM | Maximum absolute error
HR Std Dev | 2.6922 | BPM | Standard deviation of final HR output
Hold Mode % | 0% | % | Percentage of windows where final output was held
Mean Confidence | 0.605 | score | Average final confidence value
Mean External HR | 80.2333 | BPM | Average reference HR
Mean Final HR | 79.82 | BPM | Average final estimated HR
Notes
This workbook contains 60 samples (positions 20-79 from original data).
Computed error is final HR minus external reference HR; absolute error is used for MAE and max error.