## Data
seconds | hr_fft | conf_fft | peak_hz | peak_ratio | k_peaks | hr_final | conf_final | mode | s_motion | s_freq | motion_high | freq_bad | motion | external_hr | error_bpm | abs_error_bpm
0 | 82.3 | 0.73 | 1.381 | 2.41 | 7 | 82.3 | 0.73 | FREQ | 0 | 0.73 | 1 | 0 | 10140.2 | 83 | -0.7 | 0.7
1 | 82.7 | 0.8 | 1.39 | 2.64 | 7 | 82.7 | 0.69 | FREQ | 0.04 | 0.69 | 1 | 0 | 9577.4 | 83 | -0.3 | 0.3
2 | 83.7 | 0.78 | 1.425 | 2.56 | 7 | 83.7 | 0.68 | FREQ | 0 | 0.68 | 1 | 0 | 10208.4 | 85 | -1.3 | 1.3
3 | 85 | 0.82 | 1.45 | 2.71 | 7 | 85 | 0.79 | FREQ | 0.01 | 0.79 | 1 | 0 | 9897.1 | 85 | 0 | 0
4 | 86.2 | 0.54 | 1.465 | 2.25 | 7 | 86.2 | 0.51 | FREQ | 0.18 | 0.51 | 1 | 0 | 8232.6 | 86 | 0.2 | 0.2
5 | 86.6 | 0.4 | 1.465 | 1.8 | 7 | 86.6 | 0.33 | FREQ | 0.18 | 0.33 | 1 | 0 | 8219.4 | 86 | 0.6 | 0.6
6 | 86.6 | 0.38 | 1.465 | 1.73 | 7 | 86.6 | 0.32 | FREQ | 0.13 | 0.32 | 1 | 0 | 8705.8 | 88 | -1.4 | 1.4
7 | 87.3 | 0.66 | 1.511 | 2.22 | 8 | 87.3 | 0.55 | FREQ | 0.02 | 0.55 | 1 | 0 | 9799.7 | 88 | -0.7 | 0.7
8 | 89.5 | 0.76 | 1.547 | 2.5 | 8 | 89.5 | 0.7 | FREQ | 0.04 | 0.7 | 1 | 0 | 9551.2 | 90 | -0.5 | 0.5
9 | 91.5 | 0.8 | 1.573 | 2.72 | 8 | 91.5 | 0.77 | FREQ | 0 | 0.77 | 1 | 0 | 11092.1 | 90 | 1.5 | 1.5
10 | 92.8 | 0.76 | 1.571 | 2.6 | 8 | 92.8 | 0.75 | FREQ | 0.02 | 0.75 | 1 | 0 | 9777.3 | 93 | -0.2 | 0.2
11 | 93 | 0.64 | 1.551 | 2.08 | 8 | 93 | 0.55 | FREQ | 0.12 | 0.55 | 1 | 0 | 8761.4 | 93 | 0 | 0
12 | 91 | 0.43 | 1.418 | 1.4 | 7 | 93 | 0 | HOLD | 0.12 | 0.4 | 1 | 1 | 8769.3 | 92 | 1 | 1
13 | 0 | 0 | 0 | 0 | 0 | 93 | 0 | HOLD | 0.02 | 0 | 1 | 1 | 9771.9 | 92 | 1 | 1
14 | 92.2 | 0.49 | 1.494 | 1.61 | 8 | 92.2 | 0.49 | FREQ | 0.1 | 0.49 | 1 | 0 | 9035.8 | 89 | 3.2 | 3.2
15 | 91.2 | 0.63 | 1.482 | 2.06 | 8 | 91.2 | 0.62 | FREQ | 0.16 | 0.62 | 1 | 0 | 8422.7 | 89 | 2.2 | 2.2
16 | 90.5 | 0.73 | 1.495 | 2.39 | 8 | 90.5 | 0.7 | FREQ | 0.05 | 0.7 | 1 | 0 | 9478.5 | 88 | 2.5 | 2.5
17 | 90.2 | 0.81 | 1.497 | 2.65 | 8 | 90.2 | 0.8 | FREQ | 0.1 | 0.8 | 1 | 0 | 9010.3 | 88 | 2.2 | 2.2
18 | 90.2 | 0.88 | 1.506 | 2.91 | 8 | 90.2 | 0.62 | FREQ | 0.02 | 0.62 | 1 | 0 | 9801.7 | 88 | 2.2 | 2.2
19 | 90.2 | 0.9 | 1.499 | 2.96 | 8 | 90.2 | 0.63 | FREQ | 0.01 | 0.63 | 1 | 0 | 9898 | 88 | 2.2 | 2.2
20 | 89.6 | 0.9 | 1.478 | 2.96 | 8 | 89.6 | 0.63 | FREQ | 0 | 0.63 | 1 | 0 | 10171.2 | 88 | 1.6 | 1.6
21 | 89.2 | 0.9 | 1.478 | 2.97 | 8 | 89.2 | 0.87 | FREQ | 0.09 | 0.87 | 1 | 0 | 9141.4 | 88 | 1.2 | 1.2
22 | 89.1 | 0.79 | 1.485 | 2.58 | 8 | 89.1 | 0.77 | FREQ | 0.06 | 0.77 | 1 | 0 | 9375.2 | 88 | 1.1 | 1.1
23 | 88.9 | 0.62 | 1.47 | 2.03 | 8 | 88.9 | 0.57 | FREQ | 0.21 | 0.57 | 1 | 0 | 7913.6 | 88 | 0.9 | 0.9
24 | 88.6 | 0.35 | 1.465 | 1.62 | 8 | 88.6 | 0.34 | FREQ | 0.08 | 0.34 | 1 | 0 | 9238.9 | 87 | 1.6 | 1.6
25 | 88.6 | 0.39 | 1.465 | 1.75 | 8 | 88.6 | 0.36 | FREQ | 0.21 | 0.36 | 1 | 0 | 7896.9 | 87 | 1.6 | 1.6
26 | 88.6 | 0.5 | 1.465 | 2.15 | 8 | 88.6 | 0.39 | FREQ | 0.1 | 0.39 | 1 | 0 | 8976.8 | 87 | 1.6 | 1.6
27 | 88.3 | 0.59 | 1.465 | 2.44 | 8 | 88.3 | 0.59 | FREQ | 0.06 | 0.59 | 1 | 0 | 9412.4 | 87 | 1.3 | 1.3
28 | 88.1 | 0.6 | 1.465 | 2.46 | 8 | 88.1 | 0.6 | FREQ | 0.18 | 0.6 | 1 | 0 | 8174 | 86 | 2.1 | 2.1
29 | 87.3 | 0.8 | 1.42 | 2.63 | 7 | 87.3 | 0.78 | FREQ | 0.07 | 0.78 | 1 | 0 | 9334.4 | 86 | 1.3 | 1.3
30 | 86.1 | 0.66 | 1.409 | 2.16 | 7 | 86.1 | 0.55 | FREQ | 0 | 0.55 | 1 | 0 | 10127.2 | 87 | -0.9 | 0.9
31 | 86.5 | 0.5 | 1.464 | 1.62 | 7 | 86.5 | 0.37 | FREQ | 0.11 | 0.37 | 1 | 0 | 8904 | 87 | -0.5 | 0.5
32 | 86.5 | 0.36 | 1.465 | 1.67 | 7 | 86.5 | 0.36 | FREQ | 0.13 | 0.36 | 1 | 0 | 8716.2 | 87 | -0.5 | 0.5
33 | 86.3 | 0.66 | 1.44 | 2.16 | 7 | 86.3 | 0.49 | FREQ | 0.07 | 0.49 | 1 | 0 | 9293.2 | 87 | -0.7 | 0.7
34 | 86.5 | 0.75 | 1.446 | 2.46 | 7 | 86.5 | 0.66 | FREQ | 0.13 | 0.66 | 1 | 0 | 8660.4 | 87 | -0.5 | 0.5
35 | 86.8 | 0.74 | 1.455 | 2.42 | 7 | 86.8 | 0.64 | FREQ | 0 | 0.64 | 1 | 0 | 10673.9 | 87 | -0.2 | 0.2
36 | 86.8 | 0.7 | 1.44 | 2.29 | 7 | 86.8 | 0.64 | FREQ | 0.05 | 0.64 | 1 | 0 | 9530 | 87 | -0.2 | 0.2
37 | 86 | 0.74 | 1.413 | 2.44 | 7 | 86 | 0.68 | FREQ | 0 | 0.68 | 1 | 0 | 10181.5 | 87 | -1 | 1
38 | 85.4 | 0.79 | 1.41 | 2.61 | 7 | 85.4 | 0.68 | FREQ | 0.04 | 0.68 | 1 | 0 | 9606.3 | 87 | -1.6 | 1.6
39 | 85.6 | 0.83 | 1.44 | 2.74 | 7 | 85.6 | 0.76 | FREQ | 0.13 | 0.76 | 1 | 0 | 8725.8 | 87 | -1.4 | 1.4
40 | 86.6 | 0.51 | 1.465 | 2.17 | 7 | 86.6 | 0.49 | FREQ | 0.04 | 0.49 | 1 | 0 | 9629.9 | 87 | -0.4 | 0.4
41 | 86.9 | 0.38 | 1.465 | 1.74 | 7 | 86.9 | 0.34 | FREQ | 0.11 | 0.34 | 1 | 0 | 8891 | 87 | -0.1 | 0.1
42 | 86.4 | 0.53 | 1.427 | 1.76 | 7 | 86.4 | 0.49 | FREQ | 0 | 0.49 | 1 | 0 | 10116.7 | 88 | -1.6 | 1.6
43 | 86.4 | 0.56 | 1.449 | 1.83 | 7 | 86.4 | 0.54 | FREQ | 0 | 0.54 | 1 | 0 | 11698.7 | 88 | -1.6 | 1.6
44 | 86.8 | 0.36 | 1.465 | 1.67 | 7 | 86.8 | 0.35 | FREQ | 0.05 | 0.35 | 1 | 0 | 9526.8 | 88 | -1.2 | 1.2
45 | 86.8 | 0.3 | 1.465 | 1.48 | 7 | 86.4 | 0 | HOLD | 0.11 | 0.28 | 1 | 1 | 8941 | 88 | -1.6 | 1.6
46 | 0 | 0 | 0 | 0 | 0 | 86.4 | 0 | HOLD | 0.13 | 0 | 1 | 1 | 8717.9 | 88 | -1.6 | 1.6
47 | 86.8 | 0.28 | 1.465 | 1.39 | 7 | 86.4 | 0 | HOLD | 0.21 | 0.27 | 1 | 1 | 7872.1 | 88 | -1.6 | 1.6
48 | 86.8 | 0.36 | 1.465 | 1.66 | 7 | 86.8 | 0.35 | FREQ | 0.23 | 0.35 | 1 | 0 | 7701.4 | 87 | -0.2 | 0.2
49 | 85.8 | 0.49 | 1.401 | 1.59 | 7 | 86.4 | 0 | HOLD | 0.19 | 0.49 | 1 | 1 | 8079.1 | 87 | -0.6 | 0.6
50 | 84.9 | 0.43 | 1.342 | 1.39 | 7 | 86.4 | 0 | HOLD | 0.17 | 0.37 | 1 | 1 | 8292.4 | 84 | 2.4 | 2.4
51 | 85.6 | 0.43 | 1.389 | 1.41 | 7 | 86.4 | 0 | HOLD | 0.17 | 0.43 | 1 | 1 | 8308.4 | 84 | 2.4 | 2.4
52 | 85.8 | 0.43 | 1.399 | 1.39 | 7 | 86.4 | 0 | HOLD | 0.12 | 0.4 | 1 | 1 | 8847.1 | 84 | 2.4 | 2.4
53 | 86.3 | 0.46 | 1.432 | 1.49 | 7 | 86.4 | 0 | HOLD | 0.01 | 0.44 | 1 | 1 | 9919.3 | 84 | 2.4 | 2.4
54 | 86.6 | 0.57 | 1.449 | 1.86 | 7 | 86.6 | 0.57 | FREQ | 0 | 0.57 | 1 | 0 | 10127.1 | 85 | 1.6 | 1.6
55 | 86.3 | 0.71 | 1.425 | 2.33 | 7 | 86.3 | 0.7 | FREQ | 0 | 0.7 | 1 | 0 | 10602.6 | 85 | 1.3 | 1.3
56 | 85.7 | 0.8 | 1.414 | 2.64 | 7 | 85.7 | 0.56 | FREQ | 0.06 | 0.56 | 1 | 0 | 9366.4 | 85 | 0.7 | 0.7
57 | 85.1 | 0.81 | 1.402 | 2.66 | 7 | 85.1 | 0.56 | FREQ | 0.02 | 0.56 | 1 | 0 | 9836.8 | 85 | 0.1 | 0.1
58 | 85 | 0.53 | 1.426 | 1.73 | 7 | 85 | 0.49 | FREQ | 0.03 | 0.49 | 1 | 0 | 9652.2 | 84 | 1 | 1
59 | 0 | 0 | 0 | 0 | 0 | 85.1 | 0 | HOLD | 0.15 | 0 | 1 | 1 | 8500.4 | 84 | 1.1 | 1.1

## Summary
3Hz Final HR Performance Summary
Metric | Formula/Value | Unit | Description | Metric | Value
Samples | 60 | windows | Number of analyzed windows | MAE | 1.1933
MAE | 1.1933 | BPM | Mean absolute error vs external HR | RMSE | 1.411
RMSE | 1.411 | BPM | Root mean square error vs external HR | Max Error | 3.2
Max Error | 3.2 | BPM | Maximum absolute error
HR Std Dev | 2.4399 | BPM | Standard deviation of final HR output
Hold Mode % | 18.33% | % | Percentage of windows where final output was held
Mean Confidence | 0.47333 | score | Average final confidence value
Mean External HR | 87.1 | BPM | Average reference HR
Mean Final HR | 87.5233 | BPM | Average final estimated HR
Notes
This workbook was generated from the filtered 60-row CSV log.
Computed error is final HR minus external reference HR; absolute error is used for MAE and max error.